## Sheet1
IncuCyte® ZOOM Supported Vessel List
Updated December 2016
Directions: Use CTRL-F to search by Catalog #, or use filters to find your vessel(s) of interest.
Manufacturer | Vessel Type | Wells | Area (cm²) | Catalog #s | Vessel Name | Tray Name | Scan Types | 4x
Aurora | Plate | 96 | N/A | 92451, 92461, 92651, 92661, 92751, 92761 | 96-well Aurora IQ | Microplates | Standard | Yes
Aurora | Plate | 384 | N/A | 32451, 32651, 32751 | 384-well Aurora IQ-EB Ultra Low Base | Microplates | Standard | No
Aurora | Plate | 384 | N/A | 31221, 31241, 31421, 31441, 31521, 31541, 31621, 31641, 31821, 31841, 31921, 31941, 32021, 32041, 32221, 32241, 32321, 32341 | 384-well Aurora IQ-EB | Microplates | Standard | No
BD | Slide | 2 | N/A | 354629 | BD CultureSlide | MicroSlides | Standard | Yes
BRAND | Plate | 96 |  | 781900 | 96-well BRAND Round bottom ULA | Microplates | Spheroid | Yes
Corning | Plate | 6 | N/A | 3335, 3471, 3506, 3516 | 6-well Corning | Microplates | Standard, Whole Well | Yes
Corning | Plate | 12 | N/A | 3336, 3512, 3513 | 12-well Corning | Microplates | Standard, Whole Well | Yes
Corning | Plate | 24 | N/A | 3337, 3473, 3524, 3526, 3527 | 24-well Corning | Microplates | Standard, Whole Well | Yes
Corning | Plate | 48 | N/A | 3338, 3548 | 48-well Corning | Microplates | Standard | Yes
Corning | Plate | 96 | N/A | 7007 | 96-well Corning Round Bottom ULA | Microplates | Spheroid | Yes
Corning | Plate | 96 | N/A | 3340, 3372, 3603, 3610, 3666, 3667, 3841, 3842, 3843, 3903, 3904 | 96-well Corning (Blk/Wht) | Microplates | Standard | Yes
Corning | Plate | 96 | N/A | 3300, 3474, 3585, 3595, 3596, 3598, 3599, 3628, 3665, 3997 | 96-well Corning | Microplates | Standard, Whole Well, Dilution Cloning | Yes
Corning | Plate | 96 | N/A | 4580, 4582, 4584, 4586 | 96-well Corning Half Area Glass Bottom | Microplates | Standard | No
Corning | Plate | 384 | N/A | 3663, 3664, 3683, 3707, 3712 | 384-well Corning (Blk/Wht) | Microplates | Standard, Whole Well, Dilution Cloning | Yes
Corning | Plate | 384 | N/A | 3985 | 384-well Corning (Opt Imaging) | Microplates | Standard, Whole Well, Dilution Cloning | Yes
Corning | Plate | 384 | N/A | 3662, 3701 | 384-well Corning (All Clr) | Microplates | Standard | No
Corning | Plate | 384 | N/A | 3764 | 384-well Corning | Microplates | Standard, Whole Well, Dilution Cloning | Yes
Corning | Flask | N/A | 25 | 3055, 3056 | Corning 25 A | Tray 1 | Standard | Yes
Corning | Flask | N/A | 25 | 430168, 430372, 430639 | Corning 25 B | Tray 12 | Standard | Yes
Corning | Flask | N/A | 75 | 3275, 3276 | Corning 75 B | Tray 14 | Standard | Yes
Corning | Flask | N/A | 75 | 3290, 430641, 430720, 430725 | Corning 75 A | Tray 15 | Standard | Yes
Corning | Flask | N/A | 75 | 3290, 3814, 430641U, 430720U, 430725U, 431464U | Corning 75 U-shaped | Tray 30 | Standard | Yes
Corning | Flask | N/A | 93 | 3059, 3067, 3068, 3069, 3070, 3071 | RoboFlask | Microplates | Standard | Yes
Corning | Flask | N/A | 100 | 3073, 3816 | Corning 100 Low Profile | Tray 22 | Standard | Yes
Corning | Flask | N/A | 150 | 3291, 430823, 430824, 430825 | Corning 150 | Tray 6 | Standard | Yes
Corning | Flask | N/A | 162 | 3150, 3151 | Corning 162 | Tray 4 | Standard | Yes
Corning | Flask | N/A | 175 | 3292, 431079, 431080, 431085, 431306 | Corning 175 | Tray 5 | Standard | Yes
Corning | Flask | N/A | 225 | 431081, 431082 | Corning 225 B | Tray 10 | Standard | Yes
Corning | Flask | N/A | 225 | 3000, 3001 | Corning 225 A | Tray 7 | Standard | Yes
Corning | Dish | N/A | 8 | 430165 | Corning 35mm Dish with Holder | Tray 25 | Standard, Whole Well | Yes
Corning | Dish | N/A | 9 | 430165 | Corning 35mm Dish | Tray 21 | Standard | Yes
Corning | Dish | N/A | 23 | 430166 | Corning 60mm Dish | Tray 19 | Standard | Yes
Corning | Dish | N/A | 63 | 3262, 3296, 430167, 430293 | Corning 100mm Dish | Tray 9 | Standard | Yes
Corning | Dish | N/A | 153 | 430599 | Corning 150mm Dish | Tray 11 | Standard | Yes
Corning (Formerly BD) | Plate | 6 | N/A | 353046, 353224, 353846, 353934, 354400, 354402, 354404, 354413, 354417, 354428, 354431, 354432, 354510, 354515, 354595, 354603, 354652, 354658, 356400, 356413, 356515, 356652 | 6-well Corning Falcon | Microplates | Standard, Whole Well | Yes
Corning (Formerly BD) | Plate | 12 | N/A | 353043, 353225, 354470, 354500, 354501, 354502, 354503, 356470 | 12-well Corning Falcon | Microplates | Standard, Whole Well | Yes
Corning (Formerly BD) | Plate | 24 | N/A | 353047, 353226, 353847, 353935, 354408, 354411, 354412, 354414, 354419, 354433, 354605, 354619, 354635, 354659, 356408, 356414 | 24-well Corning Falcon | Microplates | Standard, Whole Well | Yes
Corning (Formerly BD) | Plate | 48 | N/A | 353078, 353230, 354505, 354506, 354507, 354508, 354509, 356505, 356509 | 48-well Corning Falcon | Microplates | Standard | Yes
Corning (Formerly BD) | Plate | 96 | N/A | 353070, 353072, 353075, 353872, 353916, 353936, 354407, 354409, 354410, 354429, 354461, 354516, 354596, 354607, 354657, 354670, 354689, 356407, 356461, 356516, 356689, 356690, 356698 | 96-well Corning Falcon (All Clr) | Microplates | Standard, Whole Well, Dilution Cloning | Yes
Corning (Formerly BD) | Plate | 96 | N/A | 353220, 353947, 353948, 356519 | 96-well Corning Falcon Optilux | Microplates | Standard | Yes
Corning (Formerly BD) | Plate | 96 | N/A | 353219, 354640, 354649, 354650, 354651, 356640, 356649, 356650, 356651, 356692, 356693, 356700 | 96-well Corning Falcon Blk/Clr Imaging | Microplates | Standard | Yes
Corning (Formerly BD) | Plate | 384 | N/A | 353221, 353962, 353963, 354660, 354663, 354664, 354667, 356660, 356663, 356664, 356667, 356694, 356697, 356705 | 384-well Corning Falcon A (Blk/Wht) | Microplates | Standard | No
Corning (Formerly BD) | Plate | 384 | N/A | 353961, 354662, 354666, 356662, 356666, 356696, 356704 | 384-well Corning Falcon A (All Clr) | Microplates | Standard | No
Corning (Formerly BD) | Plate | 384 | N/A | 353229, 353289, 354831, 354835, 356831, 356835, 356931, 356935 | 384-well Corning Falcon B (All Clr) | Microplates | Standard | No
Corning (Formerly BD) | Plate | 384 | N/A | 353270, 353274, 353280, 353284, 354832, 354833, 354836, 354837, 356832, 356833, 356836, 356837, 356932, 356933, 356936, 356937 | 384-well Corning Falcon B (Blk/Wht) | Microplates | Standard | No
Corning (Formerly BD) | Flask | N/A | 25 | 353014, 353108, 353808, 353813 | Corning Falcon 25 | Tray 20 | Standard | Yes
Corning (Formerly BD) | Flask | N/A | 25 | 353081, 353082, 353109, 354479, 354484, 354531, 354532, 354533, 354534, 354536, 356479, 356484, 356531, 356536 | Corning Falcon 25 | Tray 12 | Standard | Yes
Corning (Formerly BD) | Flask | N/A | 75 | 353023, 353024, 353110, 353810, 353824 | Corning Falcon 75 B | Tray 14 | Standard | Yes
Corning (Formerly BD) | Flask | N/A | 75 | 353133, 353134, 353135, 353136, 354462, 354485, 354488, 354521, 354523, 354524, 354537, 354654, 356462, 356485, 356488, 356524, 356537, 356654 | Corning Falcon 75 A | Tray 15 | Standard | Yes
Corning (Formerly BD) | Flask | N/A | 150 | 354486, 354495, 354538, 354645, 354646, 355000, 355001, 356486, 356538, 356645, 356945 | Corning Falcon 150 | Tray 5 | Standard | Yes
Corning (Formerly BD) | Flask | N/A | 175 | 353028, 353045, 353112, 353118, 354478, 354487, 354526, 354528, 356478, 356487 | Corning Falcon 175 | Tray 5 | Standard | Yes
Corning (Formerly BD) | Flask | N/A | 225 | 353138, 353139 | Corning Falcon 225 | Tray 10 | Standard | Yes
Corning (Formerly BD) | Dish | N/A | 9 | 353001 | Falcon 35mm Dish with Holder | Tray 25 | Standard, Whole Well | Yes
Corning (Formerly BD) | Dish | N/A | 10 | 353001 | Corning Falcon 35mm Dish | Tray 21 | Standard | Yes
Corning (Formerly BD) | Dish | N/A | 21 | 353002 | Corning Falcon 60mm Dish | Tray 19 | Standard | Yes
Corning (Formerly BD) | Dish | N/A | 22 | 353004 | Corning Falcon Easy Grip 60mm Dish | Tray 19 | Standard | Yes
Corning (Formerly BD) | Dish | N/A | 63 | 353003, 353803, 354450, 354451, 354452, 354453, 354455, 354469, 354600, 354634, 354653, 356450, 356469, 356653 | Corning Falcon 100mm Dish | Tray 9 | Standard | Yes
CytoOne | Plate | 6 | N/A | CC7682-7506 | 6-well CytoOne | Microplates | Standard | Yes
CytoOne | Plate | 12 | N/A | CC7682-7512 | 12-well CytoOne | Microplates | Standard | Yes
CytoOne | Plate | 24 | N/A | CC7682-7524 | 24-well CytoOne | Microplates | Standard | Yes
CytoOne | Plate | 48 | N/A | CC7682-7548 | 48-well CytoOne | Microplates | Standard | Yes
CytoOne | Plate | 96 | N/A | CC7672-7596, CC7682-7596 | 96-well CytoOne | Microplates | Standard | Yes
Eppendorf | Plate | 6 | N/A | 0030 720.016, 0030 720.113, 0030 720.121 | 6-well Eppendorf | Microplates | Standard | Yes
Eppendorf | Plate | 12 | N/A | 0030 721.012, 0030 721.110 | 12-well Eppendorf | Microplates | Standard | Yes
Eppendorf | Plate | 24 | N/A | 0030 722.019, 0030 722.116 | 24-well Eppendorf | Microplates | Standard | Yes
Eppendorf | Plate | 48 | N/A | 0030 723.015, 0030 723.112 | 48-well Eppendorf | Microplates | Standard | Yes
Eppendorf | Plate | 96 | N/A | 0030 730.011, 0030 730.119, 0030 730.127 | 96-well Eppendorf | Microplates | Standard | Yes
Eppendorf | Flask | N/A | 25 | 0030 710.010, 0030 710.029, 0030 710.118, 0030 710.126 | Eppendorf 25 | Tray 26 | Standard | Yes
Eppendorf | Flask | N/A | 75 | 0030 711.017, 0030 711.025, 0030 711.114, 0030 711.122 | Eppendorf 75 | Tray 28 | Standard | Yes
Eppendorf | Flask | N/A | 175 | 0030 712.110, 0030 712.129 | Eppendorf 175 | Tray 29 | Standard | Yes
Essen BioScience | Plate | 24 | N/A | 4365 | 24-well Essen ImageLock | Microplates | Standard (with lock) | Yes
Essen BioScience | Plate | 96 | N/A | 4379 | 96-well Essen ImageLock | Microplates | Standard (with lock) | Yes
Essen BioScience | Plate | 96 | N/A | 4600, 4601 | 96-well Essen ClearView Reservoir | Microplates | Standard | Yes
Essen BioScience | Plate | 96 | N/A | 4582, 4599 | 96-well Essen ClearView Cell Migration | Microplates |  | No
Essen BioScience | Slide | 1 | N/A | 95004380 | FLR Calibration Slide | MicroSlides | Standard | Yes
Evotec/PerkinElmer/Greiner | Plate | 384 | N/A | 781058 | 384-well Evotec uClear [PerkinElmer] | Microplates | Standard | No
Greiner | Plate | 6 | N/A | 657160 | 6-well Greiner | Microplates | Standard | Yes
Greiner | Plate | 24 | N/A | 662102, 662160, 662165 | 24-well Greiner | Microplates | Standard | Yes
Greiner | Plate | 96 | N/A | 655160, 655162, 655180, 655182 | 96-well Greiner | Microplates | Standard | Yes
Greiner | Plate | 96 | N/A | 655087, 655088, 655090, 655098, 655976 | 96-well Greiner microclear | Microplates | Standard | Yes
Greiner | Plate | 96 | N/A | 650970 | 96-well Greiner Round bottom ULA | Microplates | Spheroid | Yes
Greiner | Plate | 384 | N/A | 789071-G | 384-well Greiner (GNF) | Microplates | Standard | No
Greiner | Plate | 384 | N/A | 781090, 781091, 781092, 781093, 781094, 781095, 781096, 781097, 781098, 781801, 781936, 781944, 781946, 781948, 781956 | 384-well Greiner microclear | Microplates | Standard | No
Greiner | Plate | 384 | N/A | 781165, 781182 | 384-well Greiner (All Clr) | Microplates | Standard | No
Greiner | Flask | N/A | 25 | 690160 | Greiner 25 | Tray 20 | Standard | Yes
Greiner | Flask | N/A | 75 | 658170, 658175, 658195, 658940, 658950 | Greiner 75 | Tray 14 | Standard | Yes
Greiner | Flask | N/A | 182 | 660160, 660175, 661160, 661175, 661195, 661940, 661950 | Greiner 182 | Tray 6 | Standard | Yes
Greiner | Dish | N/A | 8 | 627160 | Greiner 35mm Dish with Holder | Tray 25 | Standard, Whole Well | Yes
Greiner | Dish | N/A | 9 | 627160 | Greiner 35mm Dish | Tray 21 | Standard | Yes
Greiner | Dish | N/A | 23 | 628160 | Greiner 60mm Dish | Tray 19 | Standard | Yes
Greiner | Dish | N/A | 64 | 664160, 664940, 664950 | Greiner 100mm Dish | Tray 9 | Standard | Yes
Greiner | Dish | N/A | 153 | 639160 | Greiner 150mm Dish | Tray 11 | Standard | Yes
Greiner/GNF | Flask | N/A | 84 | 779160 | AutoFlask | Microplates | Standard | Yes
IBIDI | Flask | N/A | 2 | 80171, 80172, 80173, 80174, 80176 | IBIDI MicroSlide I | Tray 18 | Standard | Yes
IBIDI | Flask | N/A | 3 | 80121, 80122, 80123, 80124, 80125, 80126 | IBIDI MicroSlide Y | Tray 18 | Standard | No
IBIDI | Dish | N/A | 3 | 81151, 81156 | IBIDI 35mm Dish | Tray 21 | Standard | No
IBIDI | Slide | 8 | N/A | 80821, 80822, 80823, 80824, 80825, 80826 | 8-well IBIDI MicroSlide | Tray 18 | Standard | Yes
IBIDI | Slide | 15 | N/A | 81501, 81506, 81531 | 15-well IBIDI [UNSUPPORTED] | Tray 18 | Standard | No
IBIDI | Slide | 36 | N/A | 80601, 80602, 80603, 80604, 80605, 80606 | IBIDI MicroSlide VI | Tray 18 | Standard | Yes
In Vitro Scientific | Plate | 12 | N/A | P12-1.5H-N | 12-well In Vitro Scientific | Microplates | Standard | Yes
In Vitro Scientific | Plate | 96 | N/A | P96-1.5H-N | 96-well In Vitro Scientific | Microplates | Standard | Yes
Iwaki | Plate | 6 | N/A | 3810-006, 4810-010, 4810-020 | 6-well Iwaki | Microplates | Standard | Yes
Iwaki | Plate | 12 | N/A | 3815-012 | 12-well Iwaki | Microplates | Standard | Yes
Iwaki | Plate | 24 | N/A | 5826-024 | 24-well Iwaki Glass Bot | Microplates | Standard | Yes
Iwaki | Plate | 24 | N/A | 1820-024, 3820-024 | 24-well Iwaki | Microplates | Standard | Yes
Iwaki | Plate | 48 | N/A | 1830-048, 3830-048 | 48-well Iwaki | Microplates | Standard | Yes
Iwaki | Plate | 96 | N/A | 3860-096, 3861-096 | 96-well Iwaki | Microplates | Standard | Yes
Iwaki | Plate | 384 | N/A | 3721-384 | 384-well Iwaki | Microplates | Standard | No
Iwaki | Flask | N/A | 25 | 3100-025 | Iwaki 25 | Tray 12 | Standard | Yes
Iwaki | Flask | N/A | 75 | 3110-075 | Iwaki 75 | Tray 15 | Standard | Yes
Iwaki | Dish | N/A | 11 | 1000-035, 3000-035 | Iwaki 35mm Dish | Tray 21 | Standard | Yes
Iwaki | Dish | N/A | 23 | 1010-060, 3010-060 | Iwaki 60mm Dish | Tray 19 | Standard | Yes
MatriCal | Plate | 96 | N/A | MGB096-x-2-LG, MGB096-x-2-LG-L, MGB096-x-2-LG-x-L | 96-well MatriCal Glass Bot (0.17mm) | Microplates | Standard | Yes
MatriCal | Plate | 96 | N/A | MGB096-x-1-LG, MGB096-x-1-LG-L, MGB096-x-1-LG-x-L | 96-well MatriCal Glass Bot (0.72mm) | Microplates | Standard | Yes
MatriCal | Plate | 384 | N/A | MGB101-x-2-LG, MGB101-x-2-LG-L, MGB101-x-2-LG-x-L | 384-well MatriCal Glass Bot (0.17mm) | Microplates | Standard | No
MatriCal | Plate | 384 | N/A | MGB101-x-1-LG, MGB101-x-1-LG-L, MGB101-x-1-LG-x-L | 384-well MatriCal Glass Bot (0.72mm) | Microplates | Standard | No
Matrix | Plate | 384 | N/A | 4313, 4336 | 384-well Matrix ScreenMates (All Clr) | Microplates | Standard | No
Matrix/Greiner | Plate | 384 | N/A | 4329, 4330, 4331, 4332 | 384-well Matrix ScreenMates (Blk/Wht) | Microplates | Standard | No
MatTek | Plate | 6 | N/A | P06G-1.5-20-F | 6-well MatTek | Microplates | Standard | Yes
MatTek | Plate | 12 | N/A | P12G-1.5-14-F | 12-well MatTek | Microplates | Standard | Yes
MatTek | Plate | 24 | N/A | P24G-1.5-13-F | 24-well MatTek | Microplates | Standard | Yes
MatTek | Dish | N/A | 9 | P35G-1.0-14-C | MatTek 35mm Dish | Tray 21 | Standard | Yes
Nanofiber Solutions | Plate | 96 | N/A | 9601, 9602 | 96-well Nanofiber Solutions | Microplates | Standard | Yes
Nunc | Plate | 6 | N/A | 140675, 140685 | 6-well Nunc | Microplates | Standard | Yes
Nunc | Plate | 8 | N/A | 167064 | 8-well Nunc | Microplates | Standard | Yes
Nunc | Plate | 12 | N/A | 150628 | 12-well Nunc | Microplates | Standard | Yes
Nunc | Plate | 24 | N/A | 142475, 142485 | 24-well Nunc | Microplates | Standard | Yes
Nunc | Plate | 96 | N/A | 167311, 167314, 267312, 267313 | 96-well Nunc Edge | Microplates | Standard | Yes
Nunc | Plate | 96 | N/A | 176747, 176748, 176749 | 96-well Nunc (CC3) | Microplates | Standard | Yes
Nunc | Plate | 96 | N/A | 152028, 152036, 152037, 152040, 165305, 165306 | 96-well Nunc opt bottom (Blk/Wht) | Microplates | Standard | Yes
Nunc | Plate | 96 | N/A | 156545, 161093, 167008, 168055 | 96-well Nunc | Microplates | Standard | Yes
Nunc | Plate | 384 | N/A | 164555, 164688 | 384-well Nunc | Microplates | Standard | No
Nunc | Plate | 384 | N/A | 142761, 142762, 152029, 152041, 176751, 176752 | 384-well Nunc opt bottom (Blk/Wht) | Microplates | Standard | No
Nunc | Flask | N/A | 25 | 132703, 132706, 156340, 156367 | Nunc EasYFlask 25 | Tray 13 | Standard | Yes
Nunc | Flask | N/A | 25 | 136196, 163371 | Nunc 25 | Tray 20 | Standard | Yes
Nunc | Flask | N/A | 75 | 153732, 178905 | Nunc 75 | Tray 14 | Standard | Yes
Nunc | Flask | N/A | 75 | 132704, 132707, 156472, 156499 | Nunc EasYFlask 75 | Tray 17 | Standard | Yes
Nunc | Flask | N/A | 175 | 156502, 178883, 178983 | Nunc 175 | Tray 5 | Standard | Yes
Nunc | Flask | N/A | 175 | 132867, 132913, 132920 | Nunc TripleFlask | Tray 5 | Standard | Yes
Nunc | Flask | N/A | 175 | 132705, 132708, 159910, 159920 | Nunc EasYFlask 175 | Tray 5 | Standard | Yes
Nunc | Flask | N/A | 185 | 144881, 144903 | Nunc SoLo 185 | Tray 6 | Standard | Yes
Nunc | Flask | N/A | 225 | 159933, 159934 | Nunc 225 | Tray 10 | Standard | Yes
Nunc | Dish | N/A | 9 | 150318, 153066 | Nunc 35mm Dish | Tray 21 | Standard | Yes
Nunc | Dish | N/A | 18 | 174888 | Nunc 60mm Dish | Tray 19 | Standard | Yes
Nunc | Dish | N/A | 63 | 150350, 150679, 172958 | Nunc 100mm Dish | Tray 9 | Standard | Yes
Nunc | Dish | N/A | 153 | 168381 | Nunc 150mm Dish | Tray 11 | Standard | Yes
Nunc | Slide | 8 | N/A | 154534 | 8-well Nunc Slide | MicroSlides | Standard | Yes
Nunclon | Plate | 48 | N/A | 150687, 152640 | 48-well Nunc | Microplates | Standard | Yes
Orange Scientific | Plate | 24 | N/A | 5530300, 5530305 | 24-well Orange Sci | Microplates | Standard | Yes
PerkinElmer | Plate | 96 | N/A | 6005450, 6005458, 6005550, 6005558, 6005920, 6005928 | 96-well PerkinElmer CellCarrier | Microplates | Standard | Yes
PerkinElmer | Plate | 96 | N/A | 6005181, 6005182, 6005225, 6005263, 6005264 | 96-well PerkinElmer ViewPlate | Microplates | Standard | Yes
PerkinElmer | Plate | 384 | N/A | 6007430, 6007431, 6007434, 6007439, 6007440, 6007441, 6007450, 6007451 | 384-well PerkinElmer CellCarrier | Microplates | Standard | No
PerkinElmer | Plate | 384 | N/A | 6007480, 6007490 | 384-well PerkinElmer ViewPlate | Microplates | Standard | No
Porvair | Plate | 384 | N/A | 311003, 311503, 312003, 312030, 312503, 313030 | 384-well Porvair Krystal | Microplates | Standard | No
Sarstedt | Plate | 6 | N/A | 83.1839, 83.3920, 83.3920.300, 83.3920.500 | 6-well Sarstedt | Microplates | Standard | Yes
Sarstedt | Plate | 12 | N/A | 83.3921, 83.3921.300, 83.3921.500 | 12-well Sarstedt | Microplates | Standard | Yes
Sarstedt | Plate | 24 | N/A | 83.3922, 83.3922.300, 83.3922.500 | 24-well Sarstedt | Microplates | Standard | Yes
Sarstedt | Plate | 96 | N/A | 83.1835.500, 83.3924, 83.3924.300, 83.3924.500 | 96-well Sarstedt | Microplates | Standard | Yes
Sarstedt | Flask | N/A | 25 | 83.1810, 83.1810.001, 83.1810.002, 83.1810.300, 83.1810.302, 83.1810.500, 83.1810.502 | Sarstedt 25 A | Tray 20 | Standard | Yes
Sarstedt | Flask | N/A | 25 | 83.3910, 83.3910.002, 83.3910.300, 83.3910.302, 83.3910.500, 83.3910.502 | Sarstedt 25 B | Tray 13 | Standard | Yes
Sarstedt | Flask | N/A | 75 | 83.3911, 83.3911.002, 83.3911.300, 83.3911.302, 83.3911.500, 83.3911.502 | Sarstedt 75 | Tray 17 | Standard | Yes
Sarstedt | Dish | N/A | 9 | 83.1800.003, 83.3900, 83.3900.300, 83.3900.500 | Sarstedt 35mm Dish | Tray 21 | Standard | Yes
Sarstedt | Dish | N/A | 23 | 83.1801.003, 83.3901, 83.3901.300, 83.3901.500 | Sarstedt 60mm Dish | Tray 19 | Standard | Yes
Sarstedt | Dish | N/A | 58 | 83.1802, 83.1802.002, 83.1802.003, 83.3902, 83.3902.300, 83.3902.500 | Sarstedt 100mm Dish | Tray 9 | Standard | Yes
S-bio | Plate | 96 | N/A | MS-9096UZ | 96-well S-bio PrimeSurface ULA | Microplates | Spheroid | Yes
S-bio | Plate | 384 | N/A | MS-9384UZ | 384-well S-bio PrimeSurface ULA | Microplates | Spheroid | No
SCIVAX | Plate | 96 | N/A | NCP-HH-96-10, NCP-HH-96-3, NCP-HS-96-10, NCP-HS-96-3, NCP-LH-96-10, NCP-LH-96-3, NCP-LS-96-10, NCP-LS-96-3, NCP-LSH-96-2 | 96-well SCIVAX | Microplates | Standard | Yes
Seahorse Bioscience | Plate | 24 | N/A | 100777-004 | 24-well Seahorse XF24 V7-PS | Microplates | Standard | Yes
Seahorse Bioscience | Plate | 24 | N/A | 101037-004 | 24-well Seahorse XF24 V7-PET | Microplates | Standard | Yes
Seahorse Bioscience | Plate | 96 | N/A | 101085-004, 101104-004 | Seahorse XF96 [UNSUPPORTED] | Microplates | Standard | No
SPL | Plate | 6 | N/A | 30006, 31006, 32006 | 6-well SPL | Microplates | Standard | Yes
SPL | Plate | 12 | N/A | 30012, 31012, 32012 | 12-well SPL | Microplates | Standard | Yes
Sumilon | Plate | 6 | N/A | MS-80060 | 6-well Sumilon | Microplates | Standard | Yes
Sumilon | Plate | 12 | N/A | MS-80120 | 12-well Sumilon | Microplates | Standard | Yes
Sumilon | Plate | 24 | N/A | MS-80240 | 24-well Sumilon | Microplates | Standard | Yes
Sumilon | Plate | 48 | N/A | MS-80480 | 48-well Sumilon | Microplates | Standard | Yes
Sumilon | Plate | 96 | N/A | MS-3096F, MS-8096F, MS-8196F5 | 96-well Sumilon | Microplates | Standard | Yes
Thermo Scientific | Plate | 12 | N/A | 130185 | 12-well Thermo BioLite | Microplates | Standard | Yes
Thermo Scientific | Plate | 24 | N/A | 130186 | 24-well Thermo BioLite | Microplates | Standard | Yes
Thermo Scientific | Flask | N/A | 75 | 130190, 130193 | Thermo BioLite 75 | Tray 17 | Standard | Yes
TPP | Plate | 6 | N/A | 92006, 92406 | 6-well TPP | Microplates | Standard, Whole Well | Yes
TPP | Plate | 12 | N/A | 92012, 92412 | 12-well TPP | Microplates | Standard, Whole Well | Yes
TPP | Plate | 24 | N/A | 92024, 92424 | 24-well TPP | Microplates | Standard, Whole Well | Yes
TPP | Plate | 96 | N/A | 92096, 92696 | 96-well TPP | Microplates | Standard, Whole Well | Yes
TPP | Flask | N/A | 25 | 90025, 90026 | TPP 25 | Tray 13 | Standard | Yes
TPP | Flask | N/A | 75 | 90075, 90076 | TPP 75 | Tray 17 | Standard | Yes
TPP | Flask | N/A | 150 | 90150, 90151 | TPP 150 | Tray 5 | Standard | Yes
TPP | Dish | N/A | 9 | 93040 | TPP 35mm Dish | Tray 21 | Standard | Yes
TPP | Dish | N/A | 23 | 93060 | TPP 60mm Dish | Tray 19 | Standard | Yes
TPP | Dish | N/A | 153 | 93150 | TPP 150mm Dish | Tray 11 | Standard | Yes
WPI | Dish | N/A | 4 | FD35-100, FD35COL-100, FD35PDL-100 | WPI 35mm Fluorodish | Tray 21 | Standard | Yes
zell-kontakt | Plate | 96 | N/A | 5241-20 | 96-well zell-kontakt Imaging Plate CG | Microplates | Standard | Yes